Instructions for CellProfiler pipeline

Digital quantification (DIA) of somatostatin receptor subtype 2a immunostaining

Authors: Claudia Campana1,2, Peter M. van Koetsveld1, Richard A. Feelders1, Wouter W. de Herder1, Anand M. Iyer1, Marie-Louise F. van Velthuysen3, Marije J. Veenstra1, Elisabeth S.R. van den Dungen1, Sanne E. Franck1, Diego Ferone2, Federico Gatto4*, Leo J. Hofland1*

1Department of Internal Medicine, Division of Endocrinology, Erasmus Medical Center, Rotterdam, The Netherlands, 2Endocrinology Unit, Department of Internal Medicine and Medical Specialties, School of Medical and Pharmaceutical Sciences, University of Genova, Genova, Italy, 3Department of Pathology, Erasmus MC Cancer Institute, University Medical Center Rotterdam, Rotterdam, The Netherlands. 4Endocrinology Unit, IRCCS Ospedale Policlinico San Martino, Genova, Italy.  *contributed equally

For questions about the program:

Leo J. Hofland, Email: l.hofland@erasmusmc.nl

Peter M. van Koetsveld: Email: p.vankoetsveld@erasmusmc.nl

General: The DIA was performed with the Cellprofiler version 4.0.7. The DIA software converts the images into grayscale. The pipeline outputs are total number of cells, number of stained cells, intensity of the staining (total intensity: sum of all pixel intensity values) and Total Area (number of analyzed pixels).

Input image:

Before starting the software analysis, a manual selection of four representative images of the digitalized slide (10X) has to be performed. Each image should be loaded individually in Input Module “Images”.  The analysis can then be started using “Start Test Mode”.

Analysis:

The first step is to select the region of interest (ROI) that will be analysed. Thereafter, the program automatically provides the following output: the number of total cells (FilteredBlueh, number of objects post-filtering), the number of stained cells (FilteredBlueD, number of objects post-filtering), the total intensity (Output screen MeasureImageIntensity #27; DAB-FilteredBlueD-Total intensity) and the Total Area (MeasureImageAreaOccupied #30; FilteredBlueD-Total Area). The percentage of positive cells (number of stained cells/total number of cells) * 100) and intensity/area (total intensity/Total Area) must be calculated.

All the analysed pictures can be saved.