
RESNET SDC 300 Meeting Minutes

11/18/2025 1:00 – 2:00 PM ET   

 MEETING RECORDING HERE
Passcode: *tK=b*Z8

	Members & Staff 
	Present 
	Absent 
	Other Attendees 

	SDC 300 Members 
1.Thiel Butner (P)
2.Terry Clausing (P)
3. Philip Fairey (G)
4. Ian Finlayson (G)
5. Dean Gamble (G)
6. Charlie Haack (U)
7. Edwin Hensley (U)
8. Kelly Parker (P)
9. Rob Salcido (G)
10.Brian Shanks (U)
11.Jason Toves (G)
12.Robby Schwarz (U)
13.Josh Spence (P)
14.Gayathri Vijayakumar (P)
15.Neal Kruis (G)
16.Mike Browne (P) 
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Meeting started at 1:01 PM ET

1. Introduction of Attendees (other than SDC members & RESNET Staff) 
Prior to introductions, Gayathri explained the addition of the letters after each members name above and recommended members check with Rick if they feel they are mis-categorized.

2. Approve Agenda & Sept 16, 2025 Meeting Minutes
Robby Schwartz moved to approve the agenda, Ian Finlayson seconded. Motion approved. 

Jason Toves moved to approve September’s meeting minutes, Robby Schwartz seconded. Motion approved. 
3. Meeting/Call Schedule 
· Bi-monthly Calls (1-2 pm, 3rd Tuesdays, next is Jan 20, 2026) 

4. Other Topics/New Business
· Dropbox vs Sharepoint
SDC300 will continue using Dropbox for individual access to ballots and related files. Task groups that work collaboratively will keep using SharePoint. If needs change, the group can revisit the decision. 

Overview of current and future projects

       ___________________________________________________________

Project Ballots Due Before the Nov 18th Meeting:
PDS-02 HERS Addendum 90f Corrections (no public comments received but additional changes proposed by TG)

PDS-02 HERS Addendum 77 iHPWH public comments responses (13 comments)
PDS-03 HERS Addendum 77 iHPWH 


PDS-02 HERS Addendum 82 HP/AC modeling public comment responses (4 comments)
PDS-03 HERS Addendum 82 HP/AC modeling

Addenda 77 and 82 are currently out for public comment, and the deadline has been extended to December 7 to give people more time to review. Neal Kruis and Gayathri Vijayakumar will be hosting a webinar on December 4th to discuss the updates, as the industry has asked for a more advanced notice so they can prepare for upcoming changes.


Potential Ballots After the Nov 18th Meeting:
PDS-01 RESNET/ICC 301-2022 Addendum D-202x comment responses  
PDS-02 RESNET/ICC 301-2022 Addendum D-202x

Addendum D rewrite is still in progress. The group previously voted on responses to the first round of public comments, and a recirculation ballot is being prepared. Robbie and Charlie Haack are revising the responses based on the group’s votes, and once those are approved, they will create an updated draft to send back out for another round of public comments. 

PDS-01 RESNET/ICC 301-2022 Addendum G-202x public comments responses (11 comments)

Addendum G uses the same language previously approved for the responses to comments on draft PDS-02 Addendum 77. Of the 11 comments received, 9 were identical to those submitted for Addendum 77, and the previously approved responses were reused. Only two comments were unique, and responses will be finalized once the current ballot is complete.

PDS-02 HERS Addendum 90f public comment responses (2)

Addendum 90F received two public comments, both supportive of the proposed changes but requesting more background and technical explanation. The group discussed hosting more informational webinars in the future to provide context for future addenda, since the explanations cannot be added to the standard. 

PDS-01 HERS Addendum 91i Administrative House Keeping
Change from “MINHERS” to “HERS” and those changes need to be made in chapters 1, 5, and 9
See notes below

IR 301-2022-005 Default Efficiency of Electric Resistance Heaters

Mike Browne submitted an interpretation request about the efficiency of electric resistance heaters. The standard currently lists HSPF as the default unit when it should be COP. A future addendum will correct this, and the interpretation will clarify that Raters may model electric resistance heat using a COP of 1.

PDS-01 HERS Addendum 98i Wall Orientation 

See notes below

Current Projects:

ANSI 301-2022 Standards Projects:
 
Addendum D           Appendix A Update, Insulation Grading
Status:                   	SDC voted on responses to draft PDS-01 public comments but vote did not achieve 2/3 approval (6/4/0/4); TG Chairs responded to member negative vote comments 
 
Addendum G        	iHPWH 
Status: 	Public comment on draft PDS-01 was conducted and 11 comments were received; SDC needs to approve responses. The project transitioned to HERS Addendum 77; The ANS version of iHPWH will be re-started after the HERS Addendum 77 is implemented.
                  	        
ANSI 301-2025 Standards Projects: 
301-2025		Update for the 4th Edition of Standard 301
Status :	The final publication is in progress by the ICC

ANSI 380-2025 Standards Projects:
380-2025		Update for the 4th Edition of Standard 380
Status:	The final publication is in progress by the ICC 

ANSI 310 Standards Projects:            
310-2025                Update for the 2nd Edition of Standard 310 
Status:   	The final publication is in progress by the ICC

	Addendum A		Phase II of the 2025 update to Standard 310
	Status:		The technical advisory TG is working on Phase II amendments.

CMP1                     Documentation of Refrigerant Weight
Status:                    To be considered during phase II of the Standard 310 update project (Addendum A of 310-2025). 

HERS Standards Addenda Projects:

 
Addendum 77	iHPWH (Formerly Proposed Standard 301-2022 Addendum F)
Status:	PDS-03 is out for comment until 11-30-25. Webinar will be scheduled 1st week of December to discuss this and other Addenda, so PC deadline may be extended.

Addendum 82	DX HP/AC Modeling
Status:	PDS-03 is out for comment until 11-30-25. Webinar will be scheduled 1st week of December to discuss this and other Addenda, so PC deadline may be extended.

Addendum 83	CMU Insulation Grading and Default Modeling Thermal Properties
Status:	Interim Addendum 83i is in place as of 12/23/24.
SDC approved PDS-02 Addendum 83f for public comment and only one non-substantive comment received. No further action by SC300; pending SMB approval.

Addendum 90	Corrections 
Status: 	PDS-02 was sent for public comment; 2 comments received, asking for explanations of the changes. Ballot on responses due after this meeting.

Addendum 91	Chapter 1 & 5 cleanup
Status:		PDS-01 will start ballot after the meeting.


Addendum 94	GSHP Circulation Loop power
Status:		SDC300 & SMB approved

Addendum 98i	Wall Orientation
Status:		PDS-01 will start ballot after the meeting


Interpretations

IR 301-2022-002      Commercial DHW Efficiency
(301 TG will likely need to consider an Amendment to address issues raised by submitter)

IR 301-2022-005      Default Efficiency for Electric Resistance
Ballot due after this meeting.


Future Standards Projects: 



5. Task Group & Working Group Chair Updates
· 301 TG [Neal]
· Explain Addendum 90 comments / responses – Neal/Philip
· IR 301-2022-005
· Discuss Addendum 98i
Recent changes in the standard required software to collect wall-orientation inputs. Based on feedback received, it was found that the requirement for some Raters is too burdensome to implement. In the short term, the proposal is to roll back those changes, restoring the pre-Addendum C text. This temporary fix will give the task group more time to determine when and how wall-orientation data should be required.
The committee members will receive a ballot to vote on this addendum after the call. 

· Appendix A Working Group [Robby]
· Update on Addendum D:  Appendix A, Insulation Installation Grading
Updates are not available yet; they expect to have them ready by the next SDC meeting. While under review, it was noted that additional changes would need to be made to the addendum, and Robby Schwartz is working on updating them with Charlie Haack.
It was noted that the changes being made are in response to the SDC’s comments from their previous review. Robby will go over the changes made since the last review during the next SDC meeting. 


· 380 TG [Mike Browne]


· 310 TG [Dean Gamble]

· Staff proposal: HERS Addendum 91i [Rick]
This update is mainly a housekeeping amendment to transition from MINHERS to RESNET HERS® Standards. Several chapters (1, 3, and 5) needed edits to reflect current terminology and to update the RESNET HERS for consistency with RESNET Standards Policy and Procedures. 
Proposed updates:
· Replacing the list of criteria that must be provided when ratings are submitted to the RESNET Registry with a reference to the current RESNET National Building Registry XSD schema.
· Rename “MINHERS” Standards to the “RESNET HERS®” Standards.
· Clarifies that the RESNET Standards Management Board issues final approval for changes to Publication 002, which is under the review of SDC300, utilized in RESNET’s accreditation of Rating Software Tools.
· The former Software Consistency Committee has been dissolved, and its responsibilities have been reassigned to the Standard 301 task group. 
· Technical appeals for software tools are now handled by the Energy Modeling Director.
· Remove a sentence in section 105.3 that is no longer consistent with building permit date criteria for Mandatory Compliance with changes to HERS addenda.
· Replaces the reference to Chapter 5 Mandatory Compliance Date criteria that is being removed and will now be governed by the Non-ANSI Standards Policy and Procedures.
· Removes reference to RESNET HERS and RESNET Accredited Software Tool use requirements for third-party Energy Efficient Programs.
· Removes language in Chapter 3 implying any provider of home energy ratings may use RESNET’s proprietary HERS Standards for the provider’s ratings.
· Replaces Chapter 5 implementation criteria for amendment of HERS Standards addenda with a reference to the Non-ANSI Standards Policy and Procedures
· Revises information required for HERS Standards amendment proposals to include why the amendment is “critical” (the SMB is charged with determining whether proposed amendments are critical and assigning SDC projects accordingly).
· If a HERS addendum will have an impact on HERS scores, an impact analysis must be conducted. 

Kelly Parker asked whether future changes that affect the HERS Index will require a standardized, cross-climate software impact analysis so that all software tools present consistent, comparable results showing how proposed changes influence ratings in different regions.
 
Rick Dixon replied that standard “model home” configurations do exist for general analysis, but the formal process does not require providing detailed, climate-specific impact results to the SDC300 Committee before an addendum is voted on to be sent for public comment. Reason being, software vendors are understandably reluctant to invest the time and resources to develop the beta versions of software that implement “proposed” changes, when those changes may be modified and further changes may occur after public review an comment(or the changes may never be approved).

Recognizing that challenge, the process instead requires an impact analysis to be completed before the SMB establishes the Voluntary Compliance Date. This allows beta versions to be developed once the change is more ‘certain’ (finished public comment) and gives raters and providers time between VCD and MCD to test impacts on their own local building types and submit feedback. 

If significant issues arise, the Standards Management Board can then adjust Mandatory Compliance Dates or authorize modifications by interim addenda.



6. Adjournment

Kelly Parker motioned to adjourn.
Meeting ended at 1:54 PM ET.
